| Roll No. |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

PRESIDENCY UNIVERSITY

Bengaluru

End - Term Examinations – JANUARY 2025

Date: 03-01-2025 Time: 09:30 am – 12:30 pm

| School: SOE | Program: B.Tech (MEC) |  |
| --- | --- | --- |
| Course Code : MEC3012 | Course Name : Material and Characterization Techniques |  |
| Semester: V | Max Marks: 100 | Weightage: 50% |

| CO - Levels | CO1 | CO2 | CO3 |
| --- | --- | --- | --- |
| Marks | 30 | 30 | 40 |

Instructions:

- Read all questions carefully and answer accordingly.

- Do not write anything on the question paper other than roll number.

Part A

| Answer ALL the Questions. 10 x 2 Marks=20 Marks |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1 | Define Depth of Field. | 2 Marks | L1 | CO1 |
| 2 | Define Chromatic Aberration. | 2 Marks | L1 | CO1 |
| 3 | Mention two types of Interaction between electron beam and specimen in Electron microscopy. | 2 Marks | L1 | CO1 |
| 4 | What is an optical microscope? | 2 Marks | L1 | CO1 |
| 5 | What is thickness contrast in TEM? | 2 Marks | L1 | CO1 |
| 6 | Define resolution. | 2 Marks | L1 | CO2 |
| 7 | Name two types of target materials used in the generation of X-rays. | 2 Marks | L1 | CO2 |
| 8 | Name two types of electron sources. | 2 Marks | L1 | CO2 |
| 9 | Define Braggs Law. | 2 Marks | L1 | CO2 |
| 10 | Mention two conditions that can improve resolving power w.r.t. Rayleigh criterion. | 2 Marks | L1 | CO2 |

Part B

Answer the Questions 				Total 80 Marks

| 11. | - Explain the steps involved in sample preparation for the optical system | 20 Marks | L2 | CO3 |
| --- | --- | --- | --- | --- |
| OR |  |  |  |  |
| 12. | - Write down the steps involved in the linear intercept method to determine grain size. [10 M] - Explain Rayleigh’s criteria for resolution. Mention the conditions for obtaining the best resolution for the optical system. [10 M] | 20 Marks | L2 | CO3 |
| 13. | - Mention all the factors on which the intensity of your X-ray powder diffraction depends. [10 M] - Explain the generation of X-rays. [10 M] | 20 Marks | L3 | CO2 |
| OR |  |  |  |  |
| 14. | - Write down the steps needed for indexing miller indices of planes. Mark (110),(111), (220), (222), (400). [10 M] - Calculate the position of the image and its magnification when an object is held 10 cm from a convex lens of a focal length of 8 cm. [10M] | 20 Marks | L3 | CO2 |

| 15. | - Explain the working principle of the Electron gun in electron microscopy. [10 M] - Explain elastic and inelastic interaction in electron microscopy with the help of diagrams. [10M] | 20 Marks | L3 | CO3 |
| --- | --- | --- | --- | --- |
| OR |  |  |  |  |
| 16. | A Debye–Scherrer tungsten pattern is made with Cu Ka(1.54 Å) radiation. The first four lines on this pattern were observed to have the following 2θ values: Determine the structure of the materials. Line; 2θ. 1; 40.6. 2; 58.4. 3; 73.4. 4; 87.2. | 20 Marks | L3 | CO3 |

| 17. | Write down seven crystal systems and 14 Bravais lattices. Draw a figure for each Bravais lattice. | 20 Marks | L3 | CO1 |
| --- | --- | --- | --- | --- |
| OR |  |  |  |  |
| 18. | - Mention all the factors on which the intensity of your X-ray powder diffraction depends. [10 M] - Explain briefly the scattering of electrons by atom and unit cell respectively. [10 M] | 20 Marks | L3 | CO1 |

***** BEST WISHES *****