| Roll No. |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

PRESIDENCY UNIVERSITY

Bengaluru

End - Term Examinations – JANUARY 2025

Date: 04 - 01- 2025 Time: 09:30 am – 12:30 pm

| School: School of Engineering | Program: B.Tech EEE |  |
| --- | --- | --- |
| Course Code : EEE3006 | Course Name : High Voltage Engineering |  |
| Semester: VII | Max Marks: 100 | Weightage: 50% |

| CO - Levels | CO1 | CO2 | CO3 | CO4 | CO5 |
| --- | --- | --- | --- | --- | --- |
| Marks | 24 | 24 | 26 | 26 | - |

Instructions:

- Read all questions carefully and answer accordingly.

- Do not write anything on the question paper other than roll number.

Part A

| Answer ALL the Questions. 10 x 2 Marks=20 Marks |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1 | Describe the ionization process occur in dielectric medium? | 2 Marks | L1 | CO1 |
| 2 | Outline the factors that affect the dielectric strength? | 2 Marks | L1 | CO1 |
| 3 | Tell how the ripple affects the generation of high voltage output. | 2 Marks | L1 | CO2 |
| 4 | Name the major applications of Van de Graaff generator? | 2 Marks | L1 | CO2 |
| 5 | List out the different methods of measuring high voltages. | 2 Marks | L1 | CO3 |
| 6 | Identify the factors influencing spark over voltage in sphere gap? | 2 Marks | L1 | CO3 |
| 7 | List out reasons behind the errors in high voltage measurements. | 2 Marks | L1 | CO3 |
| 8 | What are the natural causes for over voltages in the system? | 2 Marks | L1 | CO4 |
| 9 | Tell how to control the over voltages due to switching phenomenon? | 2 Marks | L1 | CO4 |
| 10 | List out the testing methods for high voltage electrical apparatus? | 2 Marks | L1 | CO4 |

Part B

| Answer the Questions Total 80 Marks. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 11. | a. | Explain the current growth current is I = IOeαd in a gas discharge due to Townsend’s primary mechanism. | 10Marks | L2 | CO1 |
|  | b. | With a suitable circuit diagram, demonstrate the photo-ionization process in a dielectric medium. | 10Marks | L2 | CO1 |
| or |  |  |  |  |  |
| 12. | a. | Describe the Streamer mechanism of spark in breakdown. And list out the factors that influence Streamer’s breakdown. | 10Marks | L2 | CO1 |
|  | b. | Explain the Paschen’s law with appropriate notations and plot the Paschen’s curve mentioning the breakdown voltage, pressure and distance. | 10Marks | L2 | CO1 |
| 13. | a. | With suitable experimental setup, generate the rectified high DC voltage with input AC voltage and draw the waveforms of without and with filter arrangements. | 10Marks | L2 | CO2 |
|  | b. | With a neat circuit diagram and waveforms, explain the arrangement to obtain the double voltage. | 10Marks | L2 | CO2 |
| or |  |  |  |  |  |
| 14. | a. | A Cockcroft-Walton type voltage multiplier has eight stages with capacitances, all equal to 0.05 µF. The supply transformer's secondary voltage is 125 kV (peak) at a frequency of 150 Hz. If the load current to be supplied is 5 mA. Find (i) the percentage ripple (ii) the regulation and (iii) the optimum number of stages to obtain the maximum output voltage. | 10Marks | L2 | CO2 |
|  | b. | Explain the Van de Graaff generator setup to generate high voltage and mention its applications. | 10Marks | L2 | CO2 |

| 15. | a. | With a neat diagram explain the horizontal sphere gap arrangement to measure the high voltages. | 10Marks | L2 | CO3 |
| --- | --- | --- | --- | --- | --- |
|  | b. | Explain the construction and working of electrostatic voltmeter. | 10Marks | L2 | CO3 |
| Or |  |  |  |  |  |
| 16. | a. | Describe the Chubb and Fortescue method of measuring high voltages. | 10Marks | L2 | CO3 |
|  | b. | Draw and explain a simplified equivalent circuit of a capacitive potential divider and discuss its step response. | 10Marks | L2 | CO3 |

| 17. | a. | Apply a suitable protection scheme for protecting transmission lines using protector tube with neat diagram. | 10Marks | L3 | CO4 |
| --- | --- | --- | --- | --- | --- |
|  | b. | Choose a suitable procedure employed to test circuit breaker condition in detail. | 10Marks | L3 | CO4 |
| Or |  |  |  |  |  |
| 18. | a. | Employ the principles of insulation coordination on high voltage and extra high voltage power systems for improving the protection of high voltage systems. | 10Marks | L3 | CO4 |
|  | b. | Choose a suitable procedure employed to test isolator condition in detail. | 10Marks | L3 | CO4 |

***** BEST WISHES *****